Distortion of the atmospheric electric field by the measuring system

V.V. Denisenko1, S.E. Smirnov2

1 Institute of Computational Modelling SB RAS, Krasnoyarsk, Russia

2 Institute of Cosmophysical Research and Radio Wave Propagation FEB RAS, Paratunka, Russia

Measuring of the atmospheric electric field is a problem because it is distorted by the measuring system and other objects located near the sensor. Therefore, after calibration in the laboratory, the sensors need additional calibration to compensate for such distortions. We study this effect for the measuring system of the geophysical observatory in Paratunka. The tower on which the sensor is installed, the forest nearby and the snow cover are considered. We analyze only quasi-stationary measurements. Therefore, the distribution of electric fields and currents in the atmosphere can be found by solving problems for the equation of electrical conductivity.

The main result is to find the calibration coefficient K, by which the sensor readings should be multiplied in order to obtain the vertical component of the electric field strength in the air, which is not distorted by the surrounding forest and tower. The calculations of the electric field were carried out with high accuracy, but the initial data describing the upper boundaries of the forest and shrub were determined with low accuracy. A value K close to unity was obtained. This is not a trivial result, since individually the tower gives K≈0.5, and the clearing separately gives K≈3. When processing winter measurements, it is advisable to take into account the correction of up to 20% due to snow cover in the clearing.

The result of the turbulent electrode effect using a simplified model of effective air conduction is an approximate doubling of the model field strength while maintaining its spatial distribution on the scale of the clearing and the tower. It is not possible to construct a quantitative model of this effect for specific conditions of electric field measurement.